HAMSR CAMEX-4 Flight Summary

| Date | ER-2 sortie | Flight duration | Objective | Instrument status | Data QA |
| --- | --- | --- | --- | --- | --- |
| 8/18 | 01-131 | 4.5 hrs | Andros I. | Yellow | Some data dropout sequences in 3 channels (radome problem); most of the data looks good |
| 8/20 | 01-132 | 7.2 hrs | Chantal | Yellow | 3 channels (183 GHz) dropped out (still radome problem); some cal problems; problems processing data; use with caution |
| 8/26 | 01-133 | 2.8 hrs | Buoys | Green | OK; data looks good |
| 9/03 | 01-134 | 4.2 hrs | KAMP | Green | Lots of noise (especially at 183 GHz), mostly removed by processing; looks OK |
| 9/07 | 01-135 | 4.5 hrs | KAMP | Green | OK |
| 9/09 | 01-136 | 4.1 hrs | KAMP | Green | OK |
| 9/10 | 01-137 | 7.6 hrs | Erin | Green | OK |
| 9/16 | 01-138 | 5.0 hrs | Gabrielle | Green | Instrument OK; problems processing data; looks OK |
| 9/19 | 01-139 | N/A | KAMP | Red | HAMSR not operational |
| 9/22 | 01-140 | N/A | Humberto | Red | HAMSR not operational |
| 9/23 | 01-141 | N/A | Humberto | Red | HAMSR not operational |
| 9/24 | 01-142 | 6.7 hrs | Humberto | Yellow | Only 4 channels (183 GHz) operating; marginal data set |
|  | Total: | 46.6 hrs |  |  |  |