## Sheet1
Timestamp |  | MatLab time stamp
Date / Time |  | Radiometer acquisition system time stamp. Recorded in UTC. Dd/mm/yyyy hh:mm (AM/PM)
T19v | K | 19GHz vertical polarization - calibrated brightness temperatures (TB) recorded in Kelvin degrees.
T19h | K | 19GHz horizontal polarization - calibrated brightness temperatures (TB) recorded in Kelvin degrees.
T37v | K | 37GHz vertical polarization - calibrated brightness temperatures (TB) recorded in Kelvin degrees.
T37h | K | 37GHz horizontal polarization - calibrated brightness temperatures (TB) recorded in Kelvin degrees.
T89v | K | 89GHz vertical polarization - calibrated brightness temperatures (TB) recorded in Kelvin degrees.
T89h | K | 89GHz horizontal polarization - calibrated brightness temperatures (TB) recorded in Kelvin degrees.
TP1 | K | Snow temperature: RTD 3-wire temperature probe recorded in Kelvin degrees. When there was snow on the ground, TP1 was always placed at the mid-point between the top and base of the snowpack at the edge of the radiometer footprint. When there was no snow, the probe lay exposed in the grass at the foot of the tower.
TP2 | K | Snow temperature: RTD 3-wire temperature probe recorded in Kelvin degrees. When there was snow on the ground, TP1 was always placed at the base of the snowpack to measure the soil/snow interface temperature at the edge of the radiometer footprint. When there was no snow, the probe lay exposed in the grass at the foot of the tower.
FOV_SnowD | cm | Radiometer field of view estimated snow depth. Recorded with snow depth probe (ruler) at the edge of the radiometer footprint.
TIMESTAMP | Eastern Standard Time | Soil temperature, soil moisture, and ground surface temperature CR1000 data logger time stamp. Recorded in the local EST time zone
RECORD | RN | CR1000 record number
Batt_Volt_Avg | Volts | CR1000 battery voltage
Soil615_C1_Avg |  | Volumetric water content of the soil (top 30cm). Water content is recorded on a fraction basis i.e. 0.30 is 30% - Campbell Scientific CS615 water content reflectometer
Soil615_C2_Avg |  | Volumetric water content of the soil (top 30cm). Water content is recorded on a fraction basis i.e. 0.30 is 30% - Campbell Scientific CS615 water content reflectometer
Soil615_C3_Avg |  | Volumetric water content of the soil (top 30cm). Water content is recorded on a fraction basis i.e. 0.30 is 30% - Campbell Scientific CS615 water content reflectometer
AllSoilM_615_AVG |  | Average of all three CS615 instruments - Volumetric water content of the soil (top 30cm). Water content is recorded on a fraction basis i.e. 0.30 is 30% - Campbell Scientific CS615 water content reflectometer
AllSoilM_615_STDV |  | Standard Deviation of all three CS615 instruments - Volumetric water content of the soil (top 30cm). Water content is recorded on a fraction basis i.e. 0.30 is 30% - Campbell Scientific CS615 water content reflectometer
SoilT107_C1_Avg | Deg C | Soil temperature (7cm deep), adjacent to the CS615_C1 instruments. Recorded in degrees centigrade - Campbell Scientific T107B thermistors
SoilT107_C2_Avg | Deg C | Soil temperature (7cm deep), adjacent to the CS615_C2 instruments. Recorded in degrees centigrade - Campbell Scientific T107B thermistors
SoilT107_C3_Avg | Deg C | Soil temperature (7cm deep), adjacent to the CS615_C3 instruments. Recorded in degrees centigrade - Campbell Scientific T107B thermistors
AllSoilT_T107_AVG |  | Average of all three soil temperature (7cm deep). Recorded in degrees centigrade - Campbell Scientific T107B thermistors
AllSoilT_T107_STDV |  | Standard Deviation of all three soil temperature (7cm deep). Recorded in degrees centigrade - Campbell Scientific T107B thermistors
Surf105B_5_Avg | Deg C | Ground (grass) surface temperature (0cm deep). Recorded in degrees centigrade - Campbell Scientific CS105B thermistors
Surf105B_6_Avg | Deg C | Ground (grass) surface temperature (0cm deep). Recorded in degrees centigrade - Campbell Scientific CS105B thermistors
Surf105B_7_Avg | Deg C | Ground (grass) surface temperature (0cm deep). Recorded in degrees centigrade - Campbell Scientific CS105B thermistors
Surf105B_8_Avg | Deg C | Ground (grass) surface temperature (0cm deep). Recorded in degrees centigrade - Campbell Scientific CS105B thermistors
Surf105B_9_Avg | Deg C | Ground (grass) surface temperature (0cm deep). Recorded in degrees centigrade - Campbell Scientific CS105B thermistors
Surf105B_10_Avg | Deg C | Ground (grass) surface temperature (0cm deep). Recorded in degrees centigrade - Campbell Scientific CS105B thermistors
5-10Surf_105B_AVG |  | Average of all five CS105B thermistors - Ground (grass) surface temperature (0cm deep). Recorded in degrees centigrade - Campbell Scientific CS105B thermistors
5-10Surf_105B_STDV |  | Standard Deviation of all five CS105B thermistors - Ground (grass) surface temperature (0cm deep). Recorded in degrees centigrade - Campbell Scientific CS105B thermistors